## Sheet1
| AGILE | Costs
1 | Preliminaries, including Health & Safety and working/manufacturing drawings. | 23750
2 | Site Set-up. | 600
3 | Electrical Services
3.1 | New LV main panel installation | 11022.99
3.2 | New sub main distribution switchgear installation | 9858.75
3.3 | New sub main cabling installation to Distribution Boards | 15572.38
3.4 | New sub main cabling/DB installation to pharmacy | 1826.82
3.5 | New sub main cabling/DB installation to Optometrist | 2623.14
3.6 | Internal luminaries – Phi Lighting | 101011.37
3.7 | New lighting and emergency lighting installation (inc controls) | 55900.16
3.8 | External luminaries – Candela lighting | 20258.7
3.9 | External lighting installation | 3402
3.1 | External power installation | Included in 3.11
3.11 | New small power installation | 30195.73
3.12 | Data installation works | 22932
3.13 | TV System installation works | 761.25
3.14 | Secondary containment installation | 8498.64
3.15 | New Dado trunking installation | 4576.33
3.16 | Disabled Toilet alarm installation | 1098
3.17 | New intruder alarm/CCTV/Panic attack alarm power requirements installation | 1045.8
3.18 | New Fire alarm power requirements installation | 189.24
3.19 | New power supplies to mechanical services | 3556.04
3.2 | Induction loops supply and installation | 900
3.21 | Earthing and bonding | 470.64
3.22 | Demonstration of equipment | 420
3.23 | Testing and commissioning | 1800
3.24 | As fitted drawings | 1200
3.25 | Operation and maintenance manuals | 600
3.26 | Any items not mentioned above (contractor to list below)
| Total | 324069.98