## Sheet1
Preliminaries, including Health & Safety and working/manufacturing drawings.
Site Set-up.
Mechanical Services
New Boiler Plant & pipework installation
New Pressurisation Unit and Expansion Vessel
New DHW Generator & pipework installation
New Radiators. Ground floor & pipework installation
New Radiators First floor & pipework installation
New Radiators Second Floor & pipework installation
Heating Circulation Pumps
Boiler Plant Controls and field wiring
Heating and Comfort Cooling including field wiring.
New gas service
New MCWS
New Domestic Water services
New above ground drainage.
New Mechanical Ventilation installation
New local ventilation extraction fans
Pipework thermal insulation
Ventilation thermal insulation
Demonstration of equipment
Testing and commissioning
As fitted drawings
Operation and maintenance manuals
Any items not mentioned above (contractor to list below)